## Sheet1
代码 | 中文 |  | 英文
Alarmfailed | Alarmfailed | 报警模块握手失败！ | Alarmfailed | The alarm module handshake failed!
Cleanfailed | Cleanfailed | 清洗模块握手失败！ | Cleanfailed | The cleaning module handshake failed!
ConnectErr | ConnectErr | 仪器初始化失败！请确认网线的连接状态和仪器的连接地址是否正确！是否离线运行！ | ConnectErr | Instrument initialization failed! Please confirm whether the connection status of the network cable and the connection address of the instrument are correct! Whether to run offline!
Counterfailed | Counterfailed | 计数器模块握手失败！ | Counterfailed | Counter module handshake failed!
Cupmanagementfailed | Cupmanagementfailed | 理杯机模块握手失败！ | Cupmanagementfailed | The handshake of the cup processor module failed!
High | High | 暗室值过高，值为： | High | The darkroom value is too high, the value is:
Hightips | Hightips | 暗室值过高！ | Hightips | The darkroom value is too high!
Incubationfailure | Incubationfailure | 温育盘模组握手失败 | Incubationfailure | The incubation plate module handshake failed!
InitErr | InitErr | 仪器初始化失败！请确认仪器是否开启！是否离线运行！ | InitErr | Instrument initialization failed! Please confirm whether the instrument is turned on! Whether to run offline!
InitExcetion | InitExcetion | 仪器初始化异常 | InitExcetion | Instrument initialization abnormal
InitMsg | InitMsg | 初始化进度 | InitMsg | Initialization progress
Login | Login | 登录 | Login | Login
Low | Low | 暗室值过低，值为： | Low | The darkroom value is too low, the value is:
Lowtips | Lowtips | 暗室值过低！ | Lowtips | The darkroom value is too low!
MessageboxTitle | MessageboxTitle | 信息提示 | MessageboxTitle | Tips
NotRead | NotRead | 未读 | NotRead | unread
PasswordErr | PasswordErr | 密码输入为空，请重新输入！ | PasswordErr | The password input is empty, please re-enter!
PwdUnexpectedCharacter | PwdUnexpectedCharacter | 密码输入错误！ | PwdUnexpectedCharacter | Unexpected characters in password
RestartMsg | RestartMsg | 语言环境切换，请重新启动软件 | RestartMsg | Language environment switch, please restart the software
Runoffline | Runoffline | 是否离线运行！ | Runoffline | Whether to run offline!
Samplefailed | Samplefailed | 加样机模组握手失败！ | Samplefailed | Handshake failed to add prototype module!
Tips | Tips | 温馨提示 | Tips | Tips
UnexpectedCharacter | UnexpectedCharacter | 输入错误，请重新输入 | UnexpectedCharacter | Unexpected characters, please re-enter
User | User | 用户 | User | User
UsernameErr | UsernameErr | 信息不正确，请重新输入！ | UsernameErr | The information is incorrect, please re-enter!
UserNameIsNull | UserNameIsNull | 用户名输入为空，请重新输入！ | UserNameIsNull | The username input is empty, please re-enter!
Warning | Warning | 警告 | Warning | Warning