## Sheet1
代码 | 中文 |  | 英文
Abnormalexit | Abnormalexit | 检测到非正常退出软件，请清空温育盘！ | Abnormalexit | Abnormal exit software detected, please empty the incubator disk!
AccessInterruption | AccessInterruption | 通路中断，请重新确认连接并重启仪器与软件 | AccessInterruption | Please reconfirm the connection and restart the instrument and software
btnWasteRack.tip | btnWasteRack.tip | 废管盒信息 | btnWasteRack.tip | Waste tube box information
Clean | Clean | 清洗盘 | Clean | Cleaning plate
Cleaningfluidempty | Cleaningfluidempty | 磁珠清洗液为空 | Cleaningfluidempty | Magnetic bead cleaning solution is empty
Cleaningfluidnormal | Cleaningfluidnormal | 磁珠清洗液正常 | Cleaningfluidnormal | Magnetic bead cleaning solution is normal
Cleantemperature | Cleantemperature | 清洗盘温度 | Cleantemperature | Temperature of cleaning plate
Connect | Connect | 网络已连接 | Connect | Network connected
ConnectSet | ConnectSet | 通讯设置 | ConnectSet | Communication settings
dbtnBuffer.tip | dbtnBuffer.tip | 磁珠清洗液查询 | dbtnBuffer.tip | Magnetic bead cleaning solution query
dbtnConnect.connecttip | dbtnConnect.connecttip | 网络已连接 | dbtnConnect.connecttip | Network connected
dbtnConnect.disconnecttip | dbtnConnect.disconnecttip | 网络未连接 | dbtnConnect.disconnecttip | Network not connected
dbtnLog.tip | dbtnLog.tip | 报警信息 | dbtnLog.tip | Alarm information
dbtnRack.tip | dbtnRack.tip | 理杯机信息 | dbtnRack.tip | Information of cup machine
dbtnRegent.tip | dbtnRegent.tip | 试剂信息 | dbtnRegent.tip | Reagent information
dbtnSubstract.tip | dbtnSubstract.tip | 底物信息 | dbtnSubstract.tip | Substrate information
dbtnWash.tip | dbtnWash.tip | 探针清洗液查询 | dbtnWash.tip | Probe cleaning solution query
dbtnWaste.tip | dbtnWaste.tip | 废液查询 | dbtnWaste.tip | Waste liquid inquiry
Disconnect | Disconnect | 网络未连接 | Disconnect | Network not connected
Err | Err | 错误 | Err | error
Error | Error | 错误 | Error | error
ExitTip | ExitTip | 是否确定关闭正在运行的系统！ | ExitTip | Are you sure to shut down the running system!
Incubationtemperature | Incubationtemperature | 温育盘温度 | Incubationtemperature | Incubation plate temperature
InitExcetion | InitExcetion | 上下位机握手失败！ | InitExcetion | Upper and lower handshake failed！
keywordText.FastSpeeds | keywordText.FastSpeeds | 制冷泵转速过快（缺液）! | keywordText.FastSpeeds | The speed of refrigeration pump is too fast (lack of liquid)!
keywordText.HighCoolPlate1 | keywordText.HighCoolPlate1 | 制冷片I电流过大! | keywordText.HighCoolPlate1 | The current of cooling plate I is too high!
keywordText.HighCoolPlate2 | keywordText.HighCoolPlate2 | 制冷片II电流过大! | keywordText.HighCoolPlate2 | The current of cooling plate II is too high!
keywordText.Incubation | keywordText.Incubation | 温育盘 | keywordText.Incubation | Incubation plate
keywordText.IPErrorMesage | keywordText.IPErrorMesage | LIS通讯IP地址有误 | keywordText.IPErrorMesage | The LIS communication IP address is incorrect
keywordText.LisSelect | keywordText.LisSelect | Lis连接方式为空 | keywordText.LisSelect | Lis connection method is empty
keywordText.LowCoolPlate1 | keywordText.LowCoolPlate1 | 制冷片I电流过小! | keywordText.LowCoolPlate1 | The current of cooling plate I is too low!
keywordText.LowCoolPlate2 | keywordText.LowCoolPlate2 | 制冷片II电流过小! | keywordText.LowCoolPlate2 | The current of cooling plate II is too low!
keywordText.NetConn | keywordText.NetConn | 通讯连接 | keywordText.NetConn | Communication connection
keywordText.NullBaud | keywordText.NullBaud | 波特率不能为空 | keywordText.NullBaud | Baud rate cannot be empty
keywordText.NullPort | keywordText.NullPort | 端口号不能为空 | keywordText.NullPort | The port number cannot be empty
keywordText.RefrigerationAlarm | keywordText.RefrigerationAlarm | 制冷报警： | keywordText.RefrigerationAlarm | Refrigeration alarm:
keywordText.RefrigerationNotOn | keywordText.RefrigerationNotOn | 制冷未打开 | keywordText.RefrigerationNotOn | Refrigeration not on
keywordText.SerialConn | keywordText.SerialConn | 串口通讯 | keywordText.SerialConn | Serial communication
keywordText.SerialConnSet | keywordText.SerialConnSet | 串口通讯设置 | keywordText.SerialConnSet | Serial communication settings
keywordText.SlowSpeeds | keywordText.SlowSpeeds | 制冷泵转速过慢(堵)! | keywordText.SlowSpeeds | The speed of refrigeration pump is too slow (blocked)!
keywordText.TemporaryDiskStuckTube | keywordText.TemporaryDiskStuckTube | 暂存盘卡管 | keywordText.TemporaryDiskStuckTube | Temporary storage disk card
Lefttests | Lefttests | 项目试剂剩余测数为 | Lefttests | The remaining number of reagents in the project is
NotRead | NotRead | 未读 | NotRead | unread
NotRun | NotRun | 实验未在运行，请勿进行暂停操作！ | NotRun | The experiment is not running, please do not pause!
Notstandardtemperature | Notstandardtemperature | 未达到标准 | Notstandardtemperature | Not up to standard
Paused | Paused | 实验暂停中！ | Paused | The experiment is suspended!
Pipeline | Pipeline | 清洗管路 | Pipeline | Clean pipeline
Pipelinetemperature | Pipelinetemperature | 清洗管路温度 | Pipelinetemperature | Temperature of cleaning pipeline
Probeempty | Probeempty | 探针清洗液为空 | Probeempty | Probe cleaning solution is empty
Probefluidempty | Probefluidempty | 探针清洗液为空 | Probefluidempty | Probe cleaning solution is empty
Probenormal | Probenormal | 探针清洗液正常 | Probenormal | Probe cleaning solution is normal
Standardtemperature | Standardtemperature | 温度已达到运行标准 | Standardtemperature | The temperature has reached the operating standard
Stopexperiment | Stopexperiment | 停止实验会导致此次实验作废，确认是否要停止此次实验！ | Stopexperiment | Stopping the experiment will invalidate this experiment, confirm whether you want to stop this experiment!
Substrate | Substrate | 底物 | Substrate | Substrate
Substratesurplus | Substratesurplus | 底物剩余测试为 | Substratesurplus | Substrate remaining test is
Substratetemperature | Substratetemperature | 底物环境温度 | Substratetemperature | Ambient temperature of substrate
temperatureButton.ToolTip | temperatureButton.ToolTip | 系统温度查询 | temperatureButton.ToolTip | Temperature query
Temperaturesign | Temperaturesign | ℃ | Temperaturesign | ℃
Temperaturewarning | Temperaturewarning | 温度警告 | Temperaturewarning | Temperature warning
Temporarystorage | Temporarystorage | 暂存盘位置有管 | Temporarystorage | Temporary storage location has control
Temporarystorageempty | Temporarystorageempty | 暂存盘位置缺管 | Temporarystorageempty | Temporary disk location is missing
Tips | Tips | 温馨提示 | Tips | Tips
Unableconnect | Unableconnect | 无法连接到仪器！ | Unableconnect | Cannot connect to the instrument!
Warning | Warning | 警告 | Warning | Warning
Wastefull | Wastefull | 废液桶已满 | Wastefull | Waste liquid tank full
Wastenormal | Wastenormal | 废液桶正常 | Wastenormal | Waste liquid bucket is normal
Wastepipe | Wastepipe | 废管盒已满 | Wastepipe | Waste tube box is full
Wastepipenormal | Wastepipenormal | 废管盒正常 | Wastepipenormal | The waste tube box is normal
Wastetubefull | Wastetubefull | 废管盒已满 | Wastetubefull | Waste tube box is full