## Sheet1
代码 | 中文 |  | 英文
keywordText.abandonedtReason | keywordText.abandonedtReason | 废弃原因是： | keywordText.abandonedtReason | The reasons for abandonment are as follows:
keywordText.abandonedtTest | keywordText.abandonedtTest | 实验因为发生故障，已经废弃。 | keywordText.abandonedtTest | The experiment has been abandoned because of failure.
keywordText.AddBIsKnocked | keywordText.AddBIsKnocked | 加样针加磁珠时发生撞针 | keywordText.AddBIsKnocked | The needle bumping occurs when the sample adding needle is added with magnetic beads
keywordText.AddBIsKnockedS | keywordText.AddBIsKnockedS | 加样针加磁珠时多次撞针未能修复 | keywordText.AddBIsKnockedS | Sample adding needle and magnetic bead multiple hitting needle
keywordText.AddBOver | keywordText.AddBOver | 加样针加磁珠时指令接收超时 | keywordText.AddBOver | Sample adding needle magnetic bead return instruction receiving timeout
keywordText.AddDiuOver | keywordText.AddDiuOver | 加样针加稀释液指令接收超时 | keywordText.AddDiuOver | No completion instruction was received when the sampling probe took the diluent
keywordText.AddDiuOverIsKnocked | keywordText.AddDiuOverIsKnocked | 加样针加稀释液时撞针 | keywordText.AddDiuOverIsKnocked | When adding diluent to the sample adding needle, hit the needle
keywordText.AddingB | keywordText.AddingB | 正在加磁珠 | keywordText.AddingB | Adding magnetic beads
keywordText.AddingR1 | keywordText.AddingR1 | 正在加试剂1 | keywordText.AddingR1 | Adding reagent 1
keywordText.AddingR2 | keywordText.AddingR2 | 正在加试剂2 | keywordText.AddingR2 | Adding reagent 2
keywordText.AddingR3 | keywordText.AddingR3 | 正在加试剂3 | keywordText.AddingR3 | Adding reagent 3
keywordText.AddingRD | keywordText.AddingRD | 正在加试剂D | keywordText.AddingRD | Adding reagent D
keywordText.AddingS | keywordText.AddingS | 正在加样 | keywordText.AddingS | Adding sample
keywordText.AddingSubstrate | keywordText.AddingSubstrate | 正在加底物 | keywordText.AddingSubstrate | Substrate is being added
keywordText.AddRIsKnocked | keywordText.AddRIsKnocked | 加样针加试剂时发生撞针 | keywordText.AddRIsKnocked | The sample adding needle collided when adding reagent
keywordText.AddRIsKnockedS | keywordText.AddRIsKnockedS | 加样针加试剂时多次撞针未能恢复 | keywordText.AddRIsKnockedS | When adding reagent to the sample adding needle, the needle should be bumped many times
keywordText.AddROver | keywordText.AddROver | 加样针加试剂时指令接收超时 | keywordText.AddROver | Command receiving timeout when adding reagent to sample probe
keywordText.AddSampleIsKnocked | keywordText.AddSampleIsKnocked | 加样针加样本时发生撞针 | keywordText.AddSampleIsKnocked | The needle bumps when adding sample
keywordText.AddSampleIsKnockedS | keywordText.AddSampleIsKnockedS | 加样针加样本时多次撞针未能恢复 | keywordText.AddSampleIsKnockedS | Multiple bumps failed to recover when sample adding needle and sample
keywordText.AddSampleOver | keywordText.AddSampleOver | 加样针加样本时指令接收超时 | keywordText.AddSampleOver | Instruction receiving timeout when adding sample
keywordText.AddSWarn | keywordText.AddSWarn | 正在添加急诊或普通样本，请在样本装载界面生成工作列表运行 | keywordText.AddSWarn | keywordText.AddSWarn
keywordText.BodyFluid | keywordText.BodyFluid | 体液 | keywordText.BodyFluid | body fluid
keywordText.CalculationInfo | keywordText.CalculationInfo | 函数计算错误，可能该数据不适合此回归模型 | keywordText.CalculationInfo | Function calculation error, maybe the data is not suitable for this regression model
keywordText.CalibrationSolution | keywordText.CalibrationSolution | 定标液 | keywordText.CalibrationSolution | Calibration solution
keywordText.Calibrator | keywordText.Calibrator | 校准品 | keywordText.Calibrator | Calibrator
keywordText.cleanWashEr | keywordText.cleanWashEr | 清洗盘清洗故障，请检查清洗装置运行状况！ | keywordText.cleanWashEr | Cleaning failure of cleaning disk
keywordText.ConnectErr | keywordText.ConnectErr | 系统与仪器连接失败，请查看连接设置! | keywordText.ConnectErr | The connection between the system and the instrument failed. Please check the connection settings!
keywordText.Control | keywordText.Control | 质控品 | keywordText.Control | Control
keywordText.ControlHigh | keywordText.ControlHigh | 质控品H | keywordText.ControlHigh | Control High
keywordText.controlInfo | keywordText.controlInfo | 相关质控的信息！ | keywordText.controlInfo | Related quality control information!
| keywordText.ControlLow | 质控品L | keywordText.ControlLow | Control Low
keywordText.ControlMiddle | keywordText.ControlMiddle | 质控品M | keywordText.ControlMiddle | Control Middle
keywordText.controltype | keywordText.controltype | 质控类别： | keywordText.controltype | Quality control type:
keywordText.CrossContamination | keywordText.CrossContamination | 交叉污染 | keywordText.CrossContamination | Cross
keywordText.Detectionstatus | keywordText.Detectionstatus | 实验状态 | keywordText.Detectionstatus | Experimental state
keywordText.Diluting | keywordText.Diluting | 正在稀释 | keywordText.Diluting | Diluting
keywordText.Emptytray | keywordText.Emptytray | 清空温育盘故障，请检查温育盘是否异常 | keywordText.Emptytray | Empty tray failure
keywordText.EmptyWashErr | keywordText.EmptyWashErr | 清空清洗盘故障，请检查仪器 | keywordText.EmptyWashErr | Empty cleaning disk failure, please check the instrument
keywordText.Error | keywordText.Error | 错误 | keywordText.Error | Error
keywordText.finshApartTest | keywordText.finshApartTest | 部分实验已经完成！ | keywordText.finshApartTest | ome experiments have been completed!
| keywordText.hiscalibrationOver | 无主曲线已有的历史定标已经过期，请更换定标信息 | keywordText.hiscalibrationOver | The existing historical calibration of non master curve has expired. Please replace the calibration information
keywordText.ifcontinue | keywordText.ifcontinue | 将会影响到此次实验,请确认是否继续？ | keywordText.ifcontinue | This experiment will be affected. Are you sure you want to continue?
keywordText.Incubation | keywordText.Incubation | 正在温育 | keywordText.Incubation | Incubation in progress
keywordText.Is | keywordText.Is | 是 | keywordText.Is | is
keywordText.LackSupplies | keywordText.LackSupplies | 供应品缺少 | keywordText.LackSupplies | Lack of supplies
keywordText.LackTube | keywordText.LackTube | 暂存盘缺管 | keywordText.LackTube | Lack of tube in cup management machine
keywordText.liquidB | keywordText.liquidB | 磁珠清洗液缺液 | keywordText.liquidB | Lack of magnetic bead cleaning solution
keywordText.LiquidWarn | keywordText.LiquidWarn | 缺液警告 | keywordText.LiquidWarn | Liquid shortage warning
keywordText.liquidWash | keywordText.liquidWash | 探针清洗液缺液 | keywordText.liquidWash | Probe cleaning solution is short of solution
keywordText.liquidWaste | keywordText.liquidWaste | 废液桶已满 | keywordText.liquidWaste | Waste liquid tank full
keywordText.MAddNewTReactIsKnocked | keywordText.MAddNewTReactIsKnocked | 移管手从暂存盘向温育盘移管时在取管位置发生撞管 | keywordText.MAddNewTReactIsKnocked | When the piper transferred the tube from the temporary storage tray to the warming tray, the tube collided at the position where the tube was taken out
keywordText.MAddNewTReactNullS | keywordText.MAddNewTReactNullS | 移管手向温育盘移新管多次抓空！ | keywordText.MAddNewTReactNullS | When the piper moved the new tube from the temporary storage tray to the warm cultivation tray, he grasped the empty tube many times
keywordText.MAddNewTReactOvertime | keywordText.MAddNewTReactOvertime | 移管手在暂存盘向温育盘抓管时接收数据超时 | keywordText.MAddNewTReactOvertime | The transferer has timed out receiving data when grabbing the tube from the temporary storage tray to the incubation tray
keywordText.MAddNewTReactPutKnocked | keywordText.MAddNewTReactPutKnocked | 移管手从暂存盘向温育盘移管时在放管位置发生撞管 | keywordText.MAddNewTReactPutKnocked | When the piper transferred the tube from the temporary storage tray to the incubator tray, it collided with the tube at the position where the tube was placed
keywordText.MAddNewTWashnull | keywordText.MAddNewTWashnull | 移管手从暂存盘向清洗盘移新管时取管抓空 | keywordText.MAddNewTWashnull | The piper moves a new pipe from the temporary storage tray to the cleaning tray and grabs the empty pipe
keywordText.MAddNewTWashOver | keywordText.MAddNewTWashOver | 移管手从暂存盘向清洗盘移新管时指令接收超时 | keywordText.MAddNewTWashOver | Instruction receiving timeout when the piper moves a new tube from the temporary storage disk to the cleaning disk
keywordText.Mix | keywordText.Mix | 混匀 | keywordText.Mix | Mixing gripper
keywordText.MixOver | keywordText.MixOver | 温育盘混匀指令接收超时 | keywordText.MixOver | The mixing instruction of incubation tray did not receive the return instruction
keywordText.Move | keywordText.Move | 移管指令 | keywordText.Move | Pipette instruction
keywordText.MReactLossIsKnocked | keywordText.MReactLossIsKnocked | 移管手在温育盘扔废管时多次取管撞管 | keywordText.MReactLossIsKnocked | The piper throws the waste pipe from the warming plate to the cleaning plate, and then the pipe collides with the warming plate
keywordText.MReactLossNulls | keywordText.MReactLossNulls | 移管手从温育盘向废管盒扔废管时多次抓空 | keywordText.MReactLossNulls | When the piper throws the waste pipe from the warming tray to the waste pipe box, he grabs the empty for many times
keywordText.MReactLossOver | keywordText.MReactLossOver | 移管手在温育盘扔废管时接收数据超时 | keywordText.MReactLossOver | Receiving data timeout when Piper throws waste pipe from warming tray to cleaning tray
keywordText.MReactToWashIsKnocked | keywordText.MReactToWashIsKnocked | 移管手从温育盘向清洗盘移管时多次取管撞管 | keywordText.MReactToWashIsKnocked | When the piper moved the tube from the warming plate to the cleaning plate, he took out the tube many times and hit the tube
keywordText.MReactToWashNulls | keywordText.MReactToWashNulls | 移管手在温育盘向清洗盘移管时多次抓空 | keywordText.MReactToWashNulls | The piper grabs empty for many times when transferring the tube from the warming tray to the cleaning tray
keywordText.MReactToWashOver | keywordText.MReactToWashOver | 移管手从温育盘向清洗盘移管时接收数据超时 | keywordText.MReactToWashOver | Receiving data timeout when Piper transfers tube from warming tray to cleaning tray
keywordText.MReactToWashPutKnocked | keywordText.MReactToWashPutKnocked | 移管手从温育盘向清洗盘移管时多次放管撞管 | keywordText.MReactToWashPutKnocked | When the piper transfers the tube from the warming plate to the cleaning plate, he puts the tube repeatedly and bumps the tube
keywordText.MWashLossIsKnocked | keywordText.MWashLossIsKnocked | 移管手在清洗盘扔废管时多次取管撞管 | keywordText.MWashLossIsKnocked | The pipe moving hand takes the pipe from the cleaning disk to the waste pipe box
keywordText.MWashLossNullS | keywordText.MWashLossNullS | 移管手在清洗盘扔废管时多次抓空 | keywordText.MWashLossNullS | The piper grabs the empty tube many times when throwing the waste tube in the cleaning plate
keywordText.MWashLossOver | keywordText.MWashLossOver | 移管手在清洗盘扔废管时接收数据超时 | keywordText.MWashLossOver | Receiving data timeout of Piper when throwing waste pipe from cleaning tray
keywordText.MWashToReactIsKnocked | keywordText.MWashToReactIsKnocked | 移管手在清洗盘向温育盘移管时多次取管撞管 | keywordText.MWashToReactIsKnocked | When the pipette was transferred from the cleaning plate to the incubation plate, the pipette was removed several times and hit the tube
keywordText.MWashToReactNullS | keywordText.MWashToReactNullS | 移管手在清洗盘向温育盘移管时取管多次抓空 | keywordText.MWashToReactNullS | When the piper moves the tube from the cleaning plate to the incubation plate, he takes out the tube and grasps it for many times
keywordText.MWashToReactOver | keywordText.MWashToReactOver | 移管手在清洗盘移管到温育盘时接收数据超时 | keywordText.MWashToReactOver | The piper received data timeout when the cleaning plate was transferred to the warming plate
keywordText.MWashToReactPutKnocked | keywordText.MWashToReactPutKnocked | 移管手在清洗盘向温育盘移管时放管撞管 | keywordText.MWashToReactPutKnocked | When the piper moves the tube from the cleaning dish to the incubator dish, he puts the tube and bumps the tube
keywordText.negative | keywordText.negative | 阴性 | keywordText.negative | negative
keywordText.NetworkConnection | keywordText.NetworkConnection | 网口通讯 | keywordText.NetworkConnection | Network Port Connection
keywordText.NoComputation | keywordText.NoComputation | 无法计算 | keywordText.NoComputation | beyond computation
keywordText.NoCUTOFF | keywordText.NoCUTOFF | 无CUTOFF值，无法计算样本结果！ | keywordText.NoCUTOFF | No cutoff value, unable to calculate sample results!
keywordText.NoDiu | keywordText.NoDiu | 稀释液已用完 | keywordText.NoDiu | The diluent has been used up
keywordText.noMainCurve | keywordText.noMainCurve | 无主曲线无法两点校准进行计算 | keywordText.noMainCurve | There is no master curve, which can not be calculated by two-point calibration
keywordText.normal | keywordText.normal | 正常 | keywordText.normal | normal
keywordText.NoRTeagent | keywordText.NoRTeagent | 试剂已用完 | keywordText.NoRTeagent | The reagent has been used up
keywordText.NoScling | keywordText.NoScling | 未找到相关的定标信息，请先进行定标 | keywordText.NoScling | No calibration information found, please calibrate first
keywordText.Nosubstrate | keywordText.Nosubstrate | 未检测到底物信息，请装载底物！ | keywordText.Nosubstrate | No substrate information detected, please load substrate!
keywordText.NotInRange | keywordText.NotInRange | 不在线性范围之内 | keywordText.NotInRange | Not in the linear range
keywordText.Notread | keywordText.Notread | 未读 | keywordText.Notread | Unread
keywordText.Operationforbidden | keywordText.Operationforbidden | 标准品，质控品请勿操作. | keywordText.Operationforbidden | Do not operate standard and quality control materials.
keywordText.OvertimeInfo | keywordText.OvertimeInfo | 已过期需更换。本次仍然继续测试？ | keywordText.OvertimeInfo | has expired and needs to be replaced. Continue testing this time?
keywordText.Pos | keywordText.Pos | 位置: | keywordText.Pos | Location of pipe collision:
keywordText.positive | keywordText.positive | 阳性 | keywordText.positive | positive
keywordText.ProjectLess | keywordText.ProjectLess | 项目不足，请及时进行更换 | keywordText.ProjectLess | Experiment number:
keywordText.ProjectName | keywordText.ProjectName | 项目名称： | keywordText.ProjectName | Project Name:
keywordText.Reading | keywordText.Reading | 正在读数 | keywordText.Reading | Reading
keywordText.ReadWarn | keywordText.ReadWarn | 详细信息请在报警信息查看 | keywordText.ReadWarn | Please check the alarm information for details
keywordText.Reagentbatch | keywordText.Reagentbatch | 试剂批号： | keywordText.Reagentbatch | Reagent batch number:
keywordText.Recalibrate | keywordText.Recalibrate | 定标曲线相关性较差，请进行更换或重新定标！ | keywordText.Recalibrate | Calibration curve correlation is poor, please replace or re calibrate
keywordText.ReLoadS | keywordText.ReLoadS | 请重新装载样本 | keywordText.ReLoadS | Please reload the sample
keywordText.RunStatusErr | keywordText.RunStatusErr | 实验状态故障，请检查运行状态 | keywordText.RunStatusErr | The test operation status is wrong. Please check the running status
keywordText.SampleClot | keywordText.SampleClot | 样本出现凝块或样本量不足 | keywordText.SampleClot | Clot or insufficient sample size
keywordText.SamplePos | keywordText.SamplePos | 样本位置 | keywordText.SamplePos | Sample location
keywordText.Samplingneedle | keywordText.Samplingneedle | 加样 | keywordText.Samplingneedle | Sampling needle
keywordText.Samplingprobe | keywordText.Samplingprobe | 加样针撞针 | keywordText.Samplingprobe | Sampling probe
keywordText.SclingOver | keywordText.SclingOver | 以上试剂定标信息已经过期，是否继续实验? | keywordText.SclingOver | The above reagent calibration information has expired. Do you want to continue the experiment?
keywordText.Scnn | keywordText.Scnn | 上下位机连接 | keywordText.Scnn | Upper and lower computer connection
keywordText.SelectRun | keywordText.SelectRun | 选中的实验中存在已经开始运行的实验，请重新选择！ | keywordText.SelectRun | There are already running experiments in the selected experiments, please select again!
keywordText.SelectSample | keywordText.SelectSample | 请选择要进行信息设置样本. | keywordText.SelectSample | Please select the sample for information setting.
keywordText.SelectStandards | keywordText.SelectStandards | 选中的实验中存在标准品，请重新选择 | keywordText.SelectStandards | There are standards in the selected experiment, please select again
keywordText.SerialConnection | keywordText.SerialConnection | 串口通讯 | keywordText.SerialConnection | Serial Port Connection
keywordText.Serum | keywordText.Serum | 血清 | keywordText.Serum | serum
keywordText.SerumSampleCannotTestWithOther | keywordText.SerumSampleCannotTestWithOther | 一般样品不能与标准品同时进行实验! | keywordText.SerumSampleCannotTestWithOther | General samples cannot be tested at the same time as standard products!
keywordText.Standard | keywordText.Standard | 标准品 | keywordText.Standard | Standard
keywordText.StandardA | keywordText.StandardA | 标准品A | keywordText.StandardA | Standard A
keywordText.StandardB | keywordText.StandardB | 标准品B | keywordText.StandardB | Standard B
keywordText.StandardC | keywordText.StandardC | 标准品C | keywordText.StandardC | Standard C
keywordText.StandardD | keywordText.StandardD | 标准品D | keywordText.StandardD | Standard D
keywordText.StandardE | keywordText.StandardE | 标准品E | keywordText.StandardE | Standard E
keywordText.StandardF | keywordText.StandardF | 标准品F | keywordText.StandardF | Standard F
keywordText.StandardG | keywordText.StandardG | 标准品G | keywordText.StandardG | Standard G
keywordText.StopAddingS | keywordText.StopAddingS | 正在进行加样操作，请在当前样本加样后进行样本追加！ | keywordText.StopAddingS | Sample addition is in progress. Please add the sample after adding the current sample!
keywordText.StopAddS | keywordText.StopAddS | 实验即将结束，请稍后再继续添加实验！ | keywordText.StopAddS | The experiment is coming to an end. Please continue to add the experiment later
keywordText.substrate | keywordText.substrate | 底物 | keywordText.substrate | substrate
keywordText.SubstrateLess | keywordText.SubstrateLess | 底物测数不够本次实验测试，请装载底物！ | keywordText.SubstrateLess | Substrate measurement is not enough for this experiment, please load the substrate!
keywordText.TemporaryDiskStuckTube | keywordText.TemporaryDiskStuckTube | 暂存盘卡管 | keywordText.TemporaryDiskStuckTube | Temporary storage disk card
keywordText.Testcomplete | keywordText.Testcomplete | 实验完成 | keywordText.Testcomplete | The experiment was completed
keywordText.TestId | keywordText.TestId | 实验编号： | keywordText.TestId | The project is insufficient, please replace it in time
keywordText.testNoStart | keywordText.testNoStart | 实验无法开始 | keywordText.testNoStart | The experiment couldn't start
keywordText.TestStatusAbondoned | keywordText.TestStatusAbondoned | 实验废弃 | keywordText.TestStatusAbondoned | Experimental abandonment
keywordText.TestStoped | keywordText.TestStoped | 实验已停止！ | keywordText.TestStoped | The experiment has stopped!
keywordText.TestStopedAddS | keywordText.TestStopedAddS | 实验暂停加样 | keywordText.TestStopedAddS | The experiment stopped adding samples temporarily
keywordText.tip | keywordText.tip | 提示 | keywordText.tip | Tips
keywordText.tubeWaste | keywordText.tubeWaste | 废管盒已满 | keywordText.tubeWaste | Waste pipe box full
keywordText.Urine | keywordText.Urine | 尿液 | keywordText.Urine | Urine
keywordText.Warning | keywordText.Warning | 警告 | keywordText.Warning | Warning
keywordText.Wash | keywordText.Wash | 清洗指令 | keywordText.Wash | Cleaning instruction
keywordText.Washing | keywordText.Washing | 正在清洗 | keywordText.Washing | Cleaning in progress
keywordText.WashPourOver | keywordText.WashPourOver | 清洗灌注指令接收数据超时 | keywordText.WashPourOver | Time out of time for receiving data of cleaning and pouring instruction
keywordText.WashResetOver | keywordText.WashResetOver | 清洗盘复位返回指令接收超时 | keywordText.WashResetOver | Cleaning disk reset return instruction receiving timeout
keywordText.WashTurnOver | keywordText.WashTurnOver | 清洗盘旋转指令接收超时 | keywordText.WashTurnOver | Cleaning disk rotation command receiving timeout